Compensation with CellQuest (Denise Kaminski)

- The DETECTORS/AMPS dialogue box is used for gross adjustment of the cell populations, namely, getting the negative Ab sample to be evenly situated in the lower left-hand corner (roughly within one log from 0 on each axis). If a few cells spill out, it’s o.k., the important thing is to get the population centered in that corner, and not too squashed.

- Increasing the voltage will bring the cells away from the indicated axis.

E.g.:

- The COMPENSATION dialogue box has 3 columns. The first is the channel which is being taken out of another channel, the second is the setting, the third is the channel which the first channel is taken out of.

E.g. in the FL1 single-color control:

# Text boxes

FL2

FL1

FL1 100 v

FL1 200 v

FL1

FL2

FL2 20% FL1 v

FL1

FL2

FL2 10% FL1 v

FL1

FL2