Intracellular Staining for FACS(

- Note that this procedure uses cell fixation, therefore PI staining is not an option.

- Controls recommended:

- Negative Abs or genetically-deficient specimens

- Surface-stained single color controls for each Ab

- intracellularly-stained control (an aliquot of cells left blank in FACS buffer during surface staining)

- cells surface stained but not intracellularly stained (the negative control Ab for this control will be used after permeablization).

- Stain for the appropriate cell surface markers. If desired, an extra sample may be prepared in which the intracellular Ab is used for surface staining.

- Wash the cells and resuspend in 1% paraformaldehyde (from a frozen 3% stock, dilute in FACS buffer...this dilution is good for ~ one week, if that; 333 (l stock + 667 (l buffer). Incubate the cells covered at 4( C o/n or 20 min at RmT.

- Pellet the cells and resuspend in 0.2% Tween (make the dilution in FACS buffer). Incubate the cells covered at RmT for 30 min.

- Wash the cells 2X in Tween. For the appropriate samples stain with the intracellular Ab or the negative control in Tween.

- Wash the cells, resuspend and acquire with the FACSCalibur.