# Purification of spores on step gradients of Renografin

ref.: W. Nicholson & P. Setlow, in Molecular Biological Methods for Bacillus, eds. C. Harwood & S. Cutting, New York: John Wiley, pp.391-450, 1990.

Difco Sporulation Medium (DSM)

Per liter

Bacto nutrient broth (Difco)			8 g

10% (w/v) KCl				10 ml

1.2% (w/v) MgSO4·7H2O			10 ml

1 M NaOH					~1.5 ml (pH to 7.6)

Adjust volume to 1 liter with ddH20.  pH to 7.6.  Autoclave and allow to cool to 50°C.  Just prior to use, add the following sterile solutions (and antibiotics if required):

1 M Ca(NO3)2					1 ml

0.01 M MnCl2					1 ml

1 mM FeSO4					1 ml

Gradient Solutions

Solution A (20% Renografin) for 10 ml:

Reno-60					3.33 ml

ddH2O						6.66 ml

Solution B (50% Renografin) for 30 ml:

Reno-60					25 ml

ddH20						5 ml

Prepare just prior to use.  Reno-60 is from Bracco Diagnostics, Princeton, NJ.

Procedure:

1.  Inoculate colony into 25 ml DSM and grow at 37°C and 150 rpm until mid-log phase 0.45<A600<0.6 (usually 2 hours).

2. Dilute 1 to 10 into 250 ml of prewarmed (37°C) DSM in 2L flask.  Incubate a further 48 hrs at 37°C and 150 rpm.  Observe culture occasionally during growth, and continue to next step if >90% of culture are free spores.

3. Centrifuge the culture 10 min at 10,000xg and carefully discard the supernatant.

4. Wash the pellet with 200 ml of cold (4°C) sterile distilled water. Centrifuge for 10 min at 10,000xg and again discard the supernatant.

5. Resuspend the pellet in 200 ml cold distilled water and leave at 4°C overnight.

6. Repeat steps 3, 4, and 5.  Examine spores microscopically under phase contrast optics.  Culture should be >90 % free spores, and spores should all be phase-bright.  Spores are now ready for Renografin purification, if desired, to remove contaminating vegetative cells.

7. Collect the spores by centrifugation and resuspend in 2-3 ml of 20% Renografin.

8. Layer the spore suspension over 15 ml of 50% Renografin in a 30 ml glass Corex tube.  Centrifuge for 30 min at 10,000xg.

9. Use a pipette connected to vacuum line to remove all layers of the gradient, except the pellet, which contains free spores.

10.  Resuspend the pellet in 10 ml cold sterile water, and transfer to 15 ml Falcon tube.  Centrifuge at 7,000xg for 10 min.

11.  Wash the pellet three more times as above.  These washes are important, since trace amounts of Renografin can induce germination.

12. Resuspend the spore pellet in 2.0 ml cold ddH2O.  Count 1:100 dilution of spores using a Petroff-Hauser hemocytometer.

13. Keep the spore suspension at 4°C, protected from light.  Every 2-4 weeks pellet the spores, aspirate off the water, and replace with an equal volume cold ddH2O.  This will reduce the possibility of spores germinating and becoming phase-dark.