## Slide 1: Future of Metabolomics
Stephen Barnes, PhD
Director, Targeted Metabolomics and Proteomics Laboratory
Ist UAB Metabolomics Workshop
June 2-5, 2014
Knowledge that will change your world

## Slide 2: Issues in metabolomics research
Standards and methods standardization
Derivatives and Isotope labeling
Capillary electrophoresis
Spatial distribution
  Imaging mass spectrometry
Other localized metabolomics
  Head space GC-MS
    Breath and other body odors
    ?? urine “odor”
  iKnife-MS
    Metabolome of the “smoke” created with cauterized surgical knife
Big picture - Phenomics
Where next?

## Slide 3: Standards
The majority of compounds that are detected have not been fully characterized and don’t exist in pure standard form
The LipidMaps endeavor (www.lipidmaps.org) has gone a long way to improve the state of that field
A heavy investment in chemical synthesis of other metabolites is sorely needed

## Slide 4
http://www.metabolomicsworkbench.org/standards/nominatecompounds.cgi
Nominate Compounds for Synthesis by the Metabolite Standards Synthesis Core (MSSC)
The NIH Common Fund’s Metabolomics program aims to increase national capacity in metabolomics by supporting the development of next generation technologies to enhance the sensitivity and speed with which specific elements of the cellular metabolome can be identified and quantified, providing training and mentoring opportunities, increasing the inventory of chemically identifiable metabolites through the synthesis and availability of high quality reference standards, and by promoting data sharing and collaboration.
The form should be completed by researchers wishing to nominate a compound for synthesis by the NIH Common Fund’s Metabolite Standards Synthesis Cores (MSSC). Nominated compounds will be reviewed by the NIH Common Fund’s executive committee, and prioritized for synthesis.

## Slide 5: Standardized methods
Importance of standardized operating procedures and recording keeping of any deviations from them – use of LIMS
NMR yields absolute, quantitative data, but for a limited number of metabolites
Whereas LC-MS is very sensitive, quantification is a challenge
For primary untargeted metabolomics data collection, the Qtof instrument is both the fastest and most robust
  The UK NIHR Phenomics Center is using a single manufacturer’s Qtof - harmonization

## Slide 6: Back to derivatization in metabolomics
A great advantage of LC-MS is its ability to measure compounds “as is”
However, there are many compounds that either weakly form ions or are found in multiple chemical forms (e.g., steroids, ketosteroids, keto acids, fatty acids)
The reagents used to overcome this problem can be isotopically labeled (iMetab)

## Slide 7
Succinate with no
Amplifex™ treatment
OH-Glutarate with no
Amplifex™ treatment
Oxaloacetate with no
Amplifex™ treatment
2
4
6
8
10
12
14
Time, min
0.0
1.0e6
2.0e6
3.0e6
4.0e6
Intensity, cps
5.21
2
4
6
8
10
12
14
Time, min
0.0
1.0e6
2.0e6
3.0e6
4.0e6
Intensity, cps
4.45
2
4
6
8
10
12
14
Time, min
0
1000
2000
3000
4000
5000
6000
Intensity, cps
Individual MRM channels for citric acid cycle intermediates
For most compounds, the MRM signal yields a single peak
Note that the signal for oxaloacetate is weak and “ugly” – keto acids can undergo keto-enol tautomerism

## Slide 8
Modifiers to the keto group
Methoxylamine – CH3ONH2 (from GC-MS)
Biotin hydrazide – RN.NH2
Amplifex™-Keto Reagent (ketosteroids)
R
C=O
R1
R
||
C—OH
|
R1
Enol Keto

## Slide 9
Succinate
OH-Glutarate
Oxaloacetate
2
4
6
8
10
12
14
Time, min
0.0
5.0e5
1.0e6
1.5e6
2.0e6
2.5e6
3.0e6
Intensity, cps
5.88
2
4
6
8
10
12
14
Time, min
0.0
1.0e6
2.0e6
3.0e6
4.0e6
5.0e6
Intensity, cps
4.33
2
4
6
8
10
12
14
Time, min
0.00
2.00e5
4.00e5
6.00e5
8.00e5
1.00e6
Intensity, cps
4.71
Oxaloacetate is converted to a stabilized, positively charged oxime The reagent does not alter succinate or 2-OH glutarate

## Slide 10
Isotopic derivatization
investigators are exploring reagents that can be coupled to –NH2 and –COOH groups
  c.f., ICAT, iTRAQ and TMT reagents for proteomics
These may allow one sample of a pair to be labeled with a “light” reagent and another sample with the same reagent, but one incorporating 2H, 13C or 15N atoms and therefore being “heavy”.
  The two samples can then be mixed and run at the same time
  Multiplexed reagents are also possible
Software to sort this out has not yet been written

## Slide 11: Capillary electrophoresis-MS and metabolomics
“Capillary electrophoresis and MS is a marriage made in heaven, but not on earth” (Richard Smith, 1994)
Can CE-MS provide for metabolomics what CE has done for DNA deep sequencing?
CE has many forms and can accommodate a wide variety of even hydrophilic compounds
The interface is the key component

## Slide 12
Aerts et al., Anal Chem 86:3203 (2014)

## Slide 13
Aerts et al., Anal Chem 86:3203 (2014)

## Slide 14: Can we improve the chromatography?
The sheer numbers of metabolites demands a better chromatographic solution
  CE-MS is one answer
Taking a leaf from the gas chromatography community, LC needs to move towards open tubular columns
  The back pressure of smaller and smaller particles is limiting
  So, get rid of the particles

## Slide 15: Where are the metabolites?

## Slide 16: Understanding where metabolites are
When we collect the metabolites from tissue or from cells, we destroy their localization information
We assume that all metabolites are in contact with each other
But there as many as 15 distinct compartments in cells
Some cells rely on neighboring cells for specific metabolites

## Slide 17
Frozen, thin section of zebrafish lens
Miranda Collier, 2013
Nuclear zone
Concentric rings in the cortical region

## Slide 18
Matrix application – vacuum sublimation
Sublimation setup:
2,5-dihydroxybenzoic acid
Miranda Collier/Janusz Kabarowski

## Slide 19
Selection of peaks from average mass spectrum reveals ion distribution in tissue
8 weeks old
14 months old
Lipids exist in situ as protonated, sodiated, or potassiated adducts
Formation of lithium adducts can improve signal and deconvolute spectra
log2FC
-log10(p)
PC(36:4)
Miranda Collier/Janusz Kabarowski

## Slide 20
MALDI MS/MS confirms lipid identities
100 200 300 400 500 600 700 800
Mass/Charge (m/z), Da
choline head group
(36:4) phospholipid
m/z 782.6
8 weeks old
14 months old
Miranda Collier/Janusz Kabarowski

## Slide 21
Greving et al. 2011

## Slide 22
Spectrum from a single cell
Greving et al. 2011

## Slide 23
Extreme sensitivity
Greving et al. 2011

## Slide 24: Metabolism and time
Not only should metabolites appear in the right place, there is also the question of the importance of the timescale
Metabolism defects in the heart may be only seconds away from death – rogue wave in metabolism??
Irreversible damage to the brain may occur in minutes
Go/No-Go decisions for a cell to divide or apoptose may occur in a similar timescale

## Slide 25: Components of breath
Two types of components
  Droplets in exhaled breath
    Can be condensed (proteins, lipids, metabolites)
    LC-MS analysis
  True volatiles (requires GC-MS)
    Non-condensable gases
      H2, N2, O2, CO2
    Organics
      Alcohols, aldehydes, alkanes

## Slide 26: Detecting smells
Unlike dogs, humans have relatively few olefactory receptors (dogs have lousy taste!)
  We can detect certain “bad smells” (and cover these by washing and deodorants and fragrances)
The reality is that we all emit gases that can be diagnostic
  GC-MS using a headspace technique can be used
    Breath hydrogen is diagnostic for lactase insufficiency

## Slide 27
Portable Metabolomics Devices
David Wishart

## Slide 28
iKnife mass spectrometry
Electrospray post ionization mass spectrometry of electrosurgical aerosols. Guenther et al., JASMS 2011

## Slide 29
Balog et al. Nature Med 5; 194r93
The iKnife – real time metabolomics

## Slide 30
iKnife device
RadioSurg 220
Venturi pump
Veriflo VAC 100
Solvent
25 ml/min
Infusion
pump
Teflon transfer tubing
Mass spectrometer
N2 gas

## Slide 31: Clinical applications of metabolomics
Concepts of Jeremy Nicholson

## Slide 32: The UK NIHR Phenome Center
http://www1.imperial.ac.uk/phenomecentre/

## Slide 33: Can existing techniques provide answers?
Mass spec is mostly a destructive method
  However, it can measure volatiles rapidly on a sec timescale
NMR can provide spatial and descriptive information on living or unextracted materials
  However, sensitivity and speed of data acquisition are extremely limiting
Future in other spectroscopic techniques?

## Slide 34: Where next?
“Whatever you’re using now to measure metabolites, in 10 years it will be something different”
– Stephen Barnes, Metabolomics Society 2013
“Throughout history, people with new ideas—who think differently and try to change things—have always been called troublemakers.”
― Richelle Mead, Shadow Kiss