## Slide 1
Processing of NMR-Metabolomics Data
N. Rama Krishna, Ph.D., Director
Central Alabama High-Field NMR Facility
UAB Metabolomics Workshop
December 2, 2015

## Slide 2: Acknowledgments: We thank Wimal Pathmasiri and Rodney Snyder of RTI International for permission to use their slides

## Slide 3: NMR Based Metabolomics Analysis
NMR Spectroscopy
  A robust, reliable, and highly reproducible technique in metabolomics analysis
  Quantitative and non-destructive method
  Most labs use 600 – 950 MHz Spectrometers
  The higher the field strength, the higher the sensitivity and resolution
Broad-spectrum metabolomics (or untargeted metabolomics)
  NMR binning (high throughput)
Targeted metabolomics
  Metabolite profiling and quantification of selected metabolites or a panel of metabolites
RTI International
Wimal Pathmasiri & Rodney Snyder

## Slide 4: NMR Metabolomics Workflow
RTI International
Processed NMR Spectrum
1r, cnx, esp, jdx
Statistical Analysis
Binned NMR
Data
Library Matched
Data
Multivariate Data Analysis
NMR
Data Acquisition
Fourier Transform Phase and Baseline Correction
Peak Alignment QC Check
Sample Preparation
Raw NMR data
(FID)
Pathway Analysis
-40
-30
-20
0
-10
10
30
20
40
-50 -40 -30 -20 -10 0 10 20 30 40 50 t[1]
t[2]
Scores Comp[1] vs. Comp[2] colored by Condition
Pooled
Female
Males
NIST
NMR data acquisition is performed by using methods cited in Beckonert et al. (2007), Nature Protocols, 2 (11), 2692‐2703.

## Slide 5: NMR Data
RTI International
A typical 1H NMR Spectrum consists of thousands of sharp lines or signals.
The intensity of the peak is directly related to the number of protons underlying the peak.
The position of a particular peak in the X-axis of the NMR spectrum is called the “Chemical Shift” and it is
measured in ppm scale
The NMR spectrum obtained for the biological sample is referenced using a reference compound such as DSS, TSP, or Formate added to the sample in sample preparation step.
pH indicator may also be used (for example, Imidazole)
Wimal Pathmasiri & Rodney Snyder

## Slide 6
RTI International
Al
anine.esp
4.0
3.5
3.0
2.5
2.0
Chemical Shift (ppm)
1.5
1.0
0.5
0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
0.8
0.9
1.0
Normalized Intensity
O
1
H 2 O
6a 3
H 6 4 H H
6b 4a 3a
H N H
6c 5 5b
H
5a
Peak position is called “chemical shift”
It depends on the chemical environment (pH dependent)
Splitting of peak is dependent on neighboring 1H atom(s)
Area under peak proportional to the number of 1H atoms underlying it
Chemical shift of CH3
2 lines (doublet)
Chemical shift of CH 4 lines (quadrat)
B (three protons)
A (one proton)
B
A
Alanine
1H NMR Spectrum for alanine
Wimal Pathmasiri & Rodney Snyder

## Slide 7: Typical 1H NMR Spectrum of urine
RTI International
cfsup01d1.001.1r.esp
9
8
7
6
5
Chemical Shift (ppm)
4
3
2
1
0
0.15
0.14
0.13
0.12
0.11
0.10
0.09
0.08
0.07
0.06
0.05
0.04
0.03
0.02
0.01
0.16
Normalized Intensity
DSS (chemical shift reference)
Imidazole (pH reference)
Wimal Pathmasiri & Rodney Snyder

## Slide 8
RTI International
Broad Spectrum Metabolomics NMR Binning
Wimal Pathmasiri & Rodney Snyder

## Slide 9: Binning
RTI International
PETROVIC_SPECTRA_OVERLAYED.
QC.
WP.12.04.2013.ESP
10
9
8
7
6 5
Chemical Shift (ppm)
4
3
2
1
0
-0.5
0
0.5
1.0
Normalized Intensity
Samples
Wimal Pathmasiri & Rodney Snyder

## Slide 10: Remove regions
RTI International
PETROVIC_SPECTRA_OVERLAYED.
QC.
WP.12.04.2013.ESP
10
9
8
7
6 5
Chemical Shift (ppm)
4
3
2
1
0
-0.5
0
0.5
1.0
Normalized Intensity
Urea Water
DSS and up field
Downfield region
Wimal Pathmasiri & Rodney Snyder
Bins

## Slide 11: Binning
RTI International
Integrate bins (0.04 ppm bin size)
Normalize bins to the total integral of each spectrum
Merge metadata

Result is a spreadsheet ready for further multivariate data analysis and other statistical analysis
Sample ID | Disease Group | [0.40 .. 0.46] | [0.46 .. 0.52] | [0.52 .. 0.54] | [0.54 .. 0.57] | [0.57 .. 0.60] | [0.60 .. 0.66] | [0.66 .. 0.68] | [0.68 .. 0.71] | [0.71 .. 0.75]
C0559 | Cases | 7.60E-05 | 0.00E+00 | 7.32E-02 | 8.48E-02 | 3.20E-02 | 1.84E+00 | 1.31E-01 | 3.60E-01 | 3.67E-01
C0629 | Cases | 0.00E+00 | 1.78E-02 | 0.00E+00 | 2.18E-02 | 0.00E+00 | 1.08E+01 | 0.00E+00 | 0.00E+00 | 3.02E-02
C0640 | Cases | 3.44E-04 | 0.00E+00 | 1.83E-03 | 1.86E-04 | 0.00E+00 | 4.51E+00 | 0.00E+00 | 0.00E+00 | 0.00E+00
C0835 | Cases | 6.41E-04 | 0.00E+00 | 6.44E-03 | 0.00E+00 | 3.96E-03 | 3.28E+00 | 0.00E+00 | 5.12E-03 | 1.75E-02
D0613 | Cases | 6.63E-03 | 0.00E+00 | 0.00E+00 | 1.06E-02 | 0.00E+00 | 5.79E+00 | 0.00E+00 | 6.36E-02 | 3.02E-01
D0762 | Cases | 0.00E+00 | 0.00E+00 | 1.79E-02 | 1.98E-02 | 0.00E+00 | 9.37E+00 | 0.00E+00 | 0.00E+00 | 1.74E-02
D1113 | Cases | 3.14E-03 | 2.42E-03 | 8.02E-02 | 1.04E-01 | 5.32E-03 | 3.74E+00 | 0.00E+00 | 2.02E-02 | 1.84E-01
D1158 | Cases | 0.00E+00 | 3.71E-03 | 2.35E-02 | 4.83E-02 | 0.00E+00 | 5.02E+00 | 0.00E+00 | 1.91E-02 | 0.00E+00
D2090 | Cases | 0.00E+00 | 0.00E+00 | 2.45E-03 | 9.98E-04 | 0.00E+00 | 5.76E+00 | 0.00E+00 | 1.24E-02 | 1.04E-02
E0004 | Cases | 1.72E-03 | 0.00E+00 | 6.85E-02 | 3.05E-02 | 0.00E+00 | 1.47E+00 | 6.90E-02 | 3.61E-01 | 4.08E-01
E0195 | Cases | 0.00E+00 | 1.69E-03 | 5.57E-02 | 6.29E-02 | 0.00E+00 | 2.77E+00 | 1.34E-01 | 2.04E-01 | 4.56E-01
E0225 | Cases | 1.25E-03 | 0.00E+00 | 4.40E-03 | 1.69E-02 | 0.00E+00 | 9.17E+00 | 0.00E+00 | 1.08E-02 | 2.30E-02
E0309 | Cases | 4.11E-03 | 0.00E+00 | 2.23E-02 | 7.54E-03 | 3.08E-03 | 3.54E+00 | 0.00E+00 | 3.28E-02 | 9.09E-01
E0487 | Cases | 1.72E-03 | 0.00E+00 | 0.00E+00 | 1.00E-02 | 0.00E+00 | 4.00E+00 | 0.00E+00 | 1.36E-02 | 0.00E+00
F0036 | Cases | 1.66E-02 | 0.00E+00 | 0.00E+00 | 2.06E-02 | 0.00E+00 | 1.22E+01 | 1.04E-02 | 0.00E+00 | 5.97E-01
F0108 | Cases | 0.00E+00 | 2.31E-03 | 6.30E-03 | 1.11E-02 | 0.00E+00 | 7.17E+00 | 0.00E+00 | 1.65E-02 | 2.21E-01
A0233 | Control | 0.00E+00 | 1.86E-02 | 0.00E+00 | 1.82E-02 | 0.00E+00 | 1.61E+01 | 0.00E+00 | 2.91E-03 | 0.00E+00
A0490 | Control | 0.00E+00 | 0.00E+00 | 2.99E-03 | 3.60E-02 | 0.00E+00 | 2.97E+00 | 0.00E+00 | 4.00E-02 | 5.46E-01
A2003 | Control | 0.00E+00 | 0.00E+00 | 3.45E-02 | 2.20E-02 | 0.00E+00 | 1.80E+00 | 0.00E+00 | 0.00E+00 | 0.00E+00
C0586 | Control | 0.00E+00 | 1.69E-02 | 0.00E+00 | 6.64E-03 | 0.00E+00 | 1.92E+01 | 0.00E+00 | 6.51E-02 | 0.00E+00
C2177 | Control | 0.00E+00 | 0.00E+00 | 3.02E-02 | 3.59E-02 | 0.00E+00 | 2.35E+00 | 0.00E+00 | 3.19E-02 | 1.49E-01
D0177 | Control | 9.21E-03 | 0.00E+00 | 1.69E-02 | 1.47E-02 | 0.00E+00 | 2.43E+00 | 0.00E+00 | 4.46E-02 | 0.00E+00
D0729 | Control | 0.00E+00 | 1.88E-03 | 5.58E-02 | 7.87E-02 | 2.92E-02 | 3.16E+00 | 6.59E-02 | 2.80E-01 | 4.30E-01
D0909 | Control | 0.00E+00 | 1.08E-03 | 0.00E+00 | 5.69E-03 | 0.00E+00 | 2.49E+00 | 0.00E+00 | 1.01E-02 | 1.87E-01
D0945 | Control | 0.00E+00 | 4.79E-04 | 7.00E-03 | 0.00E+00 | 4.19E-03 | 3.99E+00 | 0.00E+00 | 1.11E-03 | 3.96E-02
D1174 | Control | 0.00E+00 | 9.33E-04 | 0.00E+00 | 3.43E-03 | 1.30E-02 | 7.21E+00 | 6.53E-03 | 0.00E+00 | 1.66E-02
D2054 | Control | 1.55E-03 | 0.00E+00 | 0.00E+00 | 1.22E-02 | 0.00E+00 | 2.07E+00 | 0.00E+00 | 1.28E-02 | 3.90E-01
D2062 | Control | 2.39E-05 | 0.00E+00 | 6.04E-02 | 2.99E-02 | 0.00E+00 | 4.94E+00 | 0.00E+00 | 9.95E-03 | 0.00E+00
D2079 | Control | 2.73E-02 | 0.00E+00 | 1.81E-03 | 1.17E-02 | 0.00E+00 | 3.38E+01 | 7.87E-02 | 0.00E+00 | 5.91E+00
Wimal Pathmasiri & Rodney Snyder

## Slide 12
RTI International
Multivariate Data Analysis & Other Statistical Analysis
Wimal Pathmasiri & Rodney Snyder

## Slide 13: Multivariate data analysis and other statistical analyses
RTI International
PCA
OPLS-DA
Mean centered and scaled data
Non-supervised analysis
  Principal component analysis (PCA)
Supervised analysis
  PLS-DA and OPLS-DA
Loadings plots and VIP Plots to identify discriminatory bins
p-Value, fold change
VIP[1]
3.03
4.04
2.58
2.46
2.60
4.12
1.48
4.03
7.55
4.34
3.15
3.41
3.79
4.33
4.18
7.63
4.35
4.31
1.22
8.12
3.84
VIP Plot
Wimal Pathmasiri & Rodney Snyder

## Slide 14
RTI International
Library Matching
(and quantifying) Using Chenomx
Wimal Pathmasiri & Rodney Snyder

## Slide 15: Chenomx Library
RTI International
1,3-Dihydroxyacetone, 1,3-Dimethylurate, 1,6-Anhydro-β-D-glucose, 1,7-Dimethylxanthine, 1-Methylnicotinamide, 2'- Deoxyadenosine, 2'-Deoxyguanosine, 2'-Deoxyinosine, 2-Aminoadipate, 2-Aminobutyrate, 2-Ethylacrylate, 2-Furoate, 2- Hydroxy-3-methylvalerate, 2-Hydroxybutyrate, 2-Hydroxyglutarate, 2-Hydroxyisobutyrate, 2-Hydroxyisocaproate, 2- Hydroxyisovalerate, 2-Hydroxyphenylacetate, 2-Hydroxyvalerate, 2-Methylglutarate, 2-Octenoate, 2-Oxobutyrate, 2-
Oxocaproate, 2-OOxogvluetarrat3e, 22-O0xoimsocaeprtoaatbe, o2-Olixtoevaslerate, 2-Phosphoglycerate, 3,4-Dihydroxymandelate, 3,5-
Dibromotyrosine, 3-Aminoisobutyrate, 3-Chlorotyrosine, 3-Hydroxy-3-methylglutarate, 3-Hydroxybutyrate, 3- Hydroxyisovalerate, 3-Hydroxymandelate, 3-Hydroxyphenylacetate, 3-Indoxylsulfate, 3-Methyl-2-oxovalerate, 3- Methyladipate, 3-Methylxanthine, 3-Phenyllactate, 3-Phenylpropionate, 4-Aminobutyrate, 4-Aminohippurate, 4-Hydroxy-3-
methoxymandelapteH, 4-Hsyderonxybseintziovatee, 4l-Hibydrroaxyrbyutyroatef, 14-HHydroNxypMhenRylacSetaptee, 4c-Htyrdraoxyphenyllactate, 4-
Pyridoxate, 5,6-Dihydrothymine, 5,6-Dihydrouracil, 5-Aminolevulinate, 5-Hydroxyindole-3-acetate, 5-Hydroxylysine, 5- Methoxysalicylate, Acetaldehyde, Acetamide, Acetaminophen, Acetate, Acetoacetate, Acetone, Acetylsalicylate, Adenine, Adenosine, Adipate, Alanine, Allantoin, Alloisoleucine, Anserine, Arginine, Argininosuccinate, Asparagine, Aspartate,
Benzoate, BetainCe, Buiostint,oBumtanioznea, Bbutlyerate, Caffeine, Caprate, Caprylate, Carnitine, Carnosine, Choline, Cinnamate,
Citrate, Citrulline, Creatine, Creatinine, Cysteine, Cystine, Cytidine, Cytosine, DSS (Chemical Shift Indicator), Dimethylamine, Epicatechin, Ethanol, Ethanolamine, Ethylene glycol, Ethylmalonate, Ferulate, Formate, Fructose, Fucose, Fumarate, Galactarate, Galactitol, Galactonate, Galactose, Gentisate, Glucarate, Glucose, Glutamate, Glutamine, Glutarate, Glutaric acid monomethyl ester, Glutathione, Glycerate, Glycerol, Glycine, Glycolate, Glycylproline, Guanidoacetate, Guanine, Hippurate, Histidine, Homocitrulline, Homocystine, Homogentisate, Homoserine, Homovanillate, Hypoxanthine, Ibuprofen, Imidazole, Indole-3-acetate, Inosine, Isobutyrate, Isocaproate, Isocitrate, Isoleucine, Isopropanol, Isovalerate, Kynurenate, Kynurenine, Lactate, Lactose, Leucine, Levulinate, Lysine, Malate, Maleate, Malonate, Mannitol, Mannose, Methanol, Methionine, Methylamine, Methylguanidine, Methylmalonate, Methylsuccinate, N,N-Dimethylformamide, N,N- Dimethylglycine, N-Acetylaspartate, N-Acetylglutamate, N-Acetylglycine, N-Carbamoyl-β-alanine, N-Carbamoylaspartate, N- Isovaleroylglycine, NAD+, Niacinamide, Nicotinate, O-Acetylcarnitine, O-Phosphocholine, O-Phosphoethanolamine, O- Phosphoserine, Ornithine, Oxalacetate, Oxypurinol, Pantothenate, Phenol, Phenylacetate, Phenylacetylglycine, Phenylalanine, Pimelate, Proline, Propionate, Propylene glycol, Protocatechuate, Pyridoxine, Pyroglutamate, Pyruvate, Quinolinate, Riboflavin, Ribose, S-Adenosylhomocysteine, S-Sulfocysteine, Salicylate, Salicylurate, Sarcosine, Serine, Suberate, Succinate, Succinylacetone, Sucrose, Tartrate, Taurine, Theophylline, Threonate, Threonine, Thymine, Thymol, Tiglylglycine, Trigonelline, Trimethylamine, Trimethylamine N-oxide, Tryptophan, Tyramine, Tyrosine, Uracil, Urea, Uridine, Urocanate, Valerate, Valine, Valproate, Vanillate, Xanthine, Xanthosine, Xylose, cis-Aconitate, myo-Inositol, o-Cresol, p- Cresol, trans-4-Hydroxy-L-proline, trans-Aconitate, β-Alanine, π-Methylhistidine, τ-Methylhistidine
Wimal Pathmasiri & Rodney Snyder

## Slide 16: NMR Spectrum of Urine with Chenomx Library Fit of Metabolites
RTI International
Wimal Pathmasiri & Rodney Snyder

## Slide 17: Fitting of metabolites
RTI International
Wimal Pathmasiri & Rodney Snyder

## Slide 18: Fitting taurine
RTI International
Taurine
1.03 mM
Wimal Pathmasiri & Rodney Snyder

## Slide 19: Fitting fucose
RTI International
Fucose
0.47 mM
Wimal Pathmasiri & Rodney Snyder

## Slide 20: Additive Fit
RTI International
Wimal Pathmasiri & Rodney Snyder

## Slide 21: Chenomx Helps Resolving Ambiguity in Highly Overlapped Regions
RTI International
Wimal Pathmasiri & Rodney Snyder

## Slide 22: Additive fit
RTI International
Wimal Pathmasiri & Rodney Snyder

## Slide 23
RTI International
Interpretation & Metabolic Pathway Analysis
Wimal Pathmasiri & Rodney Snyder

## Slide 24: Interpreting results and Pathway Analysis
RTI International
Once we have performed a metabolomics analysis,
We find some important metabolites that are responsible for the separation of study groups.
The next question is “What it means?
How do you correlate these finding to your study questions?
Does it explain any findings that are meaningful for your study hypotheses?
Does it generate a new hypothesis?
How do you answer these questions?
Next step is to interpret results and metabolic pathway analysis
Wimal Pathmasiri & Rodney Snyder

## Slide 25: Interpreting results and Pathway Analysis
RTI International
There is a number of freely available software
o meta-P Server, Metaboanalyst, Met-PA, web based KEGG Pathways.
Another way of interpreting metabolomics results is to use traditional biochemistry text books.
The input for pathway analysis is typically a list of metabolites (with any fold change or p-value information)
Genomics, transcriptomics, and/or proteomics data can be integrated
Once these pathways are identified, you may perform a targeted metabolomics analysis to validate the findings from global analysis.
Wimal Pathmasiri & Rodney Snyder

## Slide 26: Day 0 serum- Predicting Day 28 Response to Vaccine
RTI International
10
9
8
7
6
5
4
3
2
1
0
-1
-2
-3
-4
-5
-6
-7
-8
-9
-10
-13 -12 -11 -10 -9 -8 -7 -6 -5 -4
-3 -2 -1 0 1 2 3 4 5 t[1]
6 7 8 9
t[2]
PopGen_BinningResults_Regions_Removed.01.09.2013.M3 (PLS-DA), Day 0 All Subjects t[Comp. 1]/t[Comp. 2]
Colored according to classes in M3
R2X[1] = 0.130952
Ellipse: Hotelling T2 (0.95)
R2X[2] = 0.112839
high low
SIMCA-P+ 12.0.1 - 2013-01-18 15:22:47 (UTC-5)
PLS-DA
Day 0 – High Responders (Black)
vs Low Responders (Red)
*p-value < 0.05, **p-value ≤ 0.1
Preliminary results
Wimal Pathmasiri & Rodney Snyder
Subset of Metabolites that Influence the Separation of Subjects at Day 0 (VIP ≥ 1 or p-value ≤ 0.1) | 
Isoleucine** | Creatinine**
Leucine** | Cysteine**
Valine | Histidine
3-Methyl-2-oxo-isovalerate | Choline
3-Hydroxybutyrate | Glucose
Lactate | Betaine
Alanine | TMAO
Acetate** | Glycine
Proline* | Glycerol
Glutamate** | Serine
Glutamine** | Creatine
Pyruvate | Tyrosine*
2-Oxoisocaproate | Histidine
Methylguanidine** | Tryptophan
Formate | Phenylalanine

## Slide 27: Some Software available for NMR Based Metabolomics
RTI International
COMMERCIAL
NMR Data-preprocessing
  ACD Software (ACD Labs, Toronto, Canada)
  Chenomx
Multivariate data analysis
  SIMCA 13
Other statistical analysis
  SAS, SPSS
Library matching and quantification
  Chenomx
Pathway analysis
  GeneGo (MetaCore Module)
  Ingenuity Pathway Analysis (IPA)
Wimal Pathmasiri & Rodney Snyder