## Slide 1: Imaging metabolomics
Janusz H. Kabarowski, PhD
UAB Metabolomics Workshop
December 2, 2015

## Slide 2
O
O
O
OH
O
O
P
OH
H
CH3
N
CH3
CH3
O
HO
HO
O
HO
HO
O
HO
HO
CH3
CH3
C
H3C
CH3
CH3
OH
NH2
O
HO
O
P
OH
HO
CH3
CH3
C
H3C
CH3
CH3
OH
OH
O
O
O
O
O
O
P
OH
H
CH3
N
CH3
CH3
O
MALDI-IMS for Spatial Analysis of Metabolites in acute kidney injury
Janusz Kabarowski, Dept. Microbiology, UAB.

## Slide 3
Matrix-Assisted Laser Desorption/Ionization (MALDI):
Matrix molecules absorb laser light, enter an excited state, and collide with sample molecules, facilitating charge transfer to create ions.
Mass Spectrometric Imaging for biomedical tissue analysis
Kamila Chughtai and Ron M.A. Heeren
Chem Rev. Vol.110(5): pp3237–3277, 2010.
MALDI-TOF
instrument
Conventional MALDI plate

## Slide 4
Vacuum sublimation
Used to apply an even microscopically thin uniform layer of matrix compound onto tissue section
without the need for solvents
Sublimation: the transition of a substance from solid to
gas phase without an intermediate liquid phase.
MALDI matrices for lipid imaging:
DHB: 2,5-dihydrobenzoic acid (+ve mode)
1,5-diaminonapthalene (-ve mode)
Notes: The role of the matrix is to absorb the majority of the laser energy leading to explosive desorption of the matrix crystals together with incorporated analyte into the gas phase without degradation of the analyte. The matrix also aids the ionization of analyte molecules in the gas phase due to the presence of protons from added acids such as trifluoroacetic acid (TFA).

## Slide 5
Cryosectioning onto Indium Tin Oxide (ITO) coated glass slides and scanning digital image of slide for “teaching” FlexControl software on MALDI-TOF.
Minimum 2400dpi
cryosection image
Matrix
application
Cryosectioning10% gelatin
embedded tissue block
Notes: OCT and other common histological embedding media ionize easily during MS analysis and cause ion suppression. ITO = indium tin oxide…conductive (must be conductive otherwise electrostatic charges will occur).

## Slide 6
How do we apply matrix for MALDI Imaging?
We built a vacuum sublimation apparatus.
Vacuum
micro-valves
Pirani vacuum
gauge
Digital vacuum
monitor
Heated sand bath
Vacuum
sublimation
chamber
vacuum
exhaust
Notes: The Pirani gauge is a thermal conductivity gauge used to measure pressure in vacuum systems. It consists of a metal filament (usually platinum) suspended in a tube which is connected to the vacuum system. A heated metal filament suspended in a gas will lose heat to the gas as its molecules collide with the filament and remove heat…..if the gas pressure is reduced, the number of molecules will fall proportionately and so the filament will lose heat more slowly (measuring the heat loss is thus an indirect measure of pressure).

## Slide 7
Matrix deposition by vacuum sublimation
Matrix
compound
Cold condensor unit
of vacuum
sublimation chamber
Heated sand
ITO (indium-tin-oxide coated)
slide with cryosections
140°C
0.05 Torr
5-10°C

## Slide 8
Slides with matrix applied by vacuum sublimation
Deposition of the matrix compound is at the molecular level because gaseous molecules recrystallize at the relatively cold surface of the tissue section attached to the cold condenser.
The uniformity of matrix deposition onto the slide attached to the cold condenser surface reflects the random Brownian motion of the released gaseous matrix molecules.

## Slide 9
Conventional MALDI plate
MALDI plate for cryosections
Adapted MALDI plate holds slides for
MALDI-imaging MS

## Slide 10
Quantitative and Spatial
Analysis of Lipids Involved in
Acute Kidney Injury

## Slide 12
SWATH (MS/MSALL) on 5600 Triple-TOF Mass Spectrometer
Normalized
kidney weight
Sham surgery or IR
8-10 weeks
old C57Bl6/J
Nephrectomy
MALDI-Imaging MS on a Bruker-TOF Mass Spectrometer
10% gelatin
cryosections
SWATH (Sequential Window Acquisition of all Theoretical Mass Spectra
Notes: AB-SCIEX 5600 TripleTOF mass spectrometer. This machine, equipped with data-independent Sequential Window Acquisition of all Theoretical mass spectra (SWATH), generates a comprehensive archive of lipids within an extract for retrospective, quantitative analysis. This technology offers several strengths for delineating unknown pathways.

## Slide 13
0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
0.8
Plasma creatinine (mg/dl)
100mm
Sham
IR 6 h
IR 24 h
*
*
*
0.9
1.0
1.1
1.2
1.3
SHAM (6 h)
IR (6 h)
IR (24 h)
SHAM (24 h)
A
B
H&E
PAS
Notes: Clinically, ischemia is a le
AKI refers to a complex disorder that comprises multiple causative factors and occurs in a variety of settings with varied clinical manifestations that range from a minimal but sustained elevation in serum creatinine to anuric renal failure. ading cause of AKI, which may result from a variety of conditions, such as decreased cardiac output, renal vascular occlusion or obstruction, and kidney transplantation.

## Slide 14
0.5
1.0
1.5
2.0
2.5
3.0
-15
-10
-5
0
5
10
15
-log10p
Log2FC (6 hours)
PE O-40:4
782.6_641.6
PE O-40:5
780.6_639.6
PC O-38:1
802.7_184.1
GT2 26:0;2
(LCB 18:0;2-H2O)
900.8_284.3
PE O-42:3
812.7_198.1
GD2 32:2;2
(LCB 18:2;2-2H2O,
LCB 18:1;3-3H2O)
809.7_262.3
2
4
6
8
10
12
-15
-10
-5
0
5
10
15
-log10p
Log2FC (24 hours)
PC O-38:1
802.7_184.1
PE O-40:5
780.6_639.6
PE O-40:4
782.6_641.6
PE O-42:3
812.7_198.1
SWATH-MS on renal lipids following ischemia/reperfusion (IR)-induced kidney injury

## Slide 15
-15
-10
-5
0
5
10
15
Log2FC (6 hours)
1.5
2.0
2.5
3.0
0.5
1.0
PE O-40:4
782.6_641.6
PC O-38:1
802.7_184.1
PE O-42:3
812.7_198.1
GD2 32:2;2
(LCB 18:2;2-2H2O,
LCB 18:1;3-3H2O)
809.7_262.3
-log10p
-15
-10
-5
0
5
10
15
Log2FC (24 hours)
2
6
8
10
12
4
2
PC O-38:1
802.7_184.1
PE O-42:3
812.7_198.1
-log10p
SWATH-MS on renal lipids following ischemia/reperfusion (IR)-induced kidney injury
Intensity >10

## Slide 17
A
Figure 4
Plasma creatinine (IR 0.5/6h) (mg/dl)
PC O-38:1 intensity (au)
0
50
100
150
200
0
2
4
6
8
10
r=0.730
p=0.0062
250
12
Plasma creatinine (IR 0.5/6h) (mg/dl)
PE O-40:4 intensity (au)
0
2
4
6
8
10
12
14
16
18
0
2
4
6
8
10
r=0.771
p=0.0023
20
12
Plasma creatinine (IR 0.5/6h) (mg/dl)
PE O-40:5 intensity (au)
0
2
4
6
8
10
12
14
16
18
0
2
4
6
8
10
r=0.724
p=0.0062
20
12
Plasma creatinine (IR 0.5/6h) (mg/dl)
PE O-42:3 intensity (au)
0
20
40
0
2
4
6
8
10
r=0.717
p=0.00872
12
60
80
100
120
140
160
Sham (6h)
IR (6h)
Plasma creatinine (IR 0.5/6h) (mg/dl)
GD2 43:2;2 intensity (au)
0
5
10
15
20
0
2
4
6
8
10
r=0.532
p=0.0748 (ns)
25
12
Sham (6h)
IR (6h)
0
5
10
15
20
25
30
0.05
0.10
0.15
0.20
0.25
0.30
0
Lipid (ng/mg kidney)
B
Sham (6h)
IR (6h)
AA
LA
13-HODE
9-HODE
12-HETE
5-HETE
15-HETE

## Slide 18
IR (6 h)
Sham (6 h)
802.7m/z [M+H+]
824.7m/z [M+Na+]
Intensity
1mm
Sham (6 h)
Lotus Lectin
PECAM-1
IR (6 h)
Lotus Lectin
PECAM-1
824.7m/z [M+Na+]
802.7m/z [M+H+]
Sham (6 h)
1mm
824.7m/z [M+Na+]
IR (6 h)
802.7m/z [M+H+]
IR (6 h)
Sham (6 h)
824.678
0.0
0.5
1.0
1.5
2.0
2.5
100
200
300
400
500
600
700
800
900
Intensity [a.u.] (x104)
Mass/Charge (m/z), Da
184.1 m/z phosphocholine
645.387
763.583
162.214
86.114
PC O-18:0/20:1 imaging in sham and IR kidneys

## Slide 19
18:0 chain alcohol
1-O-alkyl-glycerol-3-phosphate
Dihydroxyacetone phosphate (DHAP)
1-alkyl-2-acyl-glycerol
Biosynthesis of Ether PC in Animal Tissue
From the AOCS Lipid Library
1-alkyl-sn-glycerophosphate acyltransferase
1-acyl-DHAP
1-O-alkyl-2-acyl-glycero-3-phosphate
1-alkyl-2-acyl glycerophosphate phosphohydrolase
Choline
Choline kinase
Phosphocholine
CDP-choline transferase
1-alkyl-2-acyl-glycero-3-phosphocholine
DHAP acyltransferase
+
+
Fatty acyl coenzyme A
CTP:phosphocholine cytidylyltransferase
1-acyl DHAP synthase
1-acyl/alkyl DHAP reductase
…to plasmalogens via 1-alkyl-2-acyl-sn-glycerophosphocholine desaturase, methyltransferases and base-exchange enzymes.
Rate-limiting peroxisomal enzymes most abundant in kidney proximal tubules.

## Slide 20: Summary
MALDI-TOF imaging mass spectrometry is a very powerful technique to determine the distribution of small molecules within a tissue
  In this study it was applied to lipid species in the damaged kidney
  It has the potential for application to many other tissues such as brain, heart, liver, lung and the visual system

## Slide 21: Acknowledgments
owship Program
Sangeetha Rao